## Slide 1
INSTALL PIPE SUPPORT

## Slide 2
Many pipe support problems may be minimized or avoided if proper attention is given to the means of support during the piping layout design phase.
Good pipe support design begins with good piping design and layout.
Pipe support specifications for individual projects must be written in such a way as to ensure proper support under all operating and environmental conditions and to provide for slope, expansion, anchorage, and insulation protection.

## Slide 3
After completing the topic, students should be able to:
Explain type of pipe support/stand.
Describe relevant standard.

## Slide 4
Hangers and supports must be designed to meet all static as well as dynamic operational conditions to which the piping and equipment may be subjected.
The support system must provide for and control, subject to the requirements of the piping configuration, the movement due to the thermal expansion and contraction of the piping and connected equipment.

## Slide 5
Proper design necessitates a thorough knowledge of the complete cyclical behaviour of each section of piping to be supported as well as an awareness of the proximity of the pipe with respect to building structure, other piping systems, and equipment in the immediate vicinity.

## Slide 6
Special requirements:
  When one is dealing with a number of piping systems in an area, it is advisable to superimpose the piping (using a single-line representation) on the structural drawings.
  A preliminary study very often reveals that consideration has been given to the supporting phase and provisions have been made in the form of steel work patterns, anchor bolts or inserts in concrete, or runs of piping purposely routed near suitable supporting structure.
  The piping should also be studied from the standpoint of possibly coordinating supports for one system or pipe run with those of another, thereby providing an orderly supporting arrangement.

## Slide 7
Supports are located ideally to suit the requirements of the piping configuration, some degree of compromise may be required to take the fullest advantage of the available supporting structure.
With the use of the allowable support spacing as dictated by code of practice, the support points are tentatively located, taking into consideration division of straight runs, concentrated loads, elimination of excessive overhanging sections or bends, and loads on terminal connections.
Next, the tentative locations are compared with the available supporting structure, modified as required, previously sketched on the structural drawings.

## Slide 9
ANGLE SUPPORT

## Slide 12
STANCHION

## Slide 14
DUMMY SUPPORT

## Slide 15
SHOE
WELD TYPE
CLAMP TYPE

## Slide 17
Support locations are dependent on many considerations:
    Pipe size
    Pipe configuration
    Location of heavy valve and fittings
    Structure that available for support
No firm rules or limits exist which will positively fix the location of each support in a piping system.

## Slide 19
Supports should be placed as close as possible to concentrated loads in order to keep piping stresses to a minimum.
Where changes in piping direction occur between supports, it is good practice to keep the total length of pipe between the supports equal to or less than 0.75 times the full spans listed in the above table.
When practical, a support should be located immediately adjacent to any change in direction of the piping

## Slide 20
No Weld Type (Example : Angle support ,Stanchion…)
Usually use carbon steel.
Welded type ( Example : Shoe , Dummy..)
Depends on run pipe material.

## Slide 21
It is very important to install pipe support according to requirement.
Piping system may fail earlier than actual design because wrong design of pipe support or fabrication/installation error.